| Company Name: |  | Date: |  |
| --- | --- | --- | --- |
| Site: |  | Time: |  |
| Supervisor: |  | Permit Number: |  |
| Contractor/Principal Contractor: |  | Valid Till: |  |
| Equipment Used: |  |

FINAL SIGN OFF: ………………………………………………………………………………………………………...….

| PRECAUTIONS TO BE TAKEN: | YES | NO | N/A |
| --- | --- | --- | --- |
| Hot Works must cease at least one hour before end of shift. |  |  |  |
| Have affected services been isolated? (Gas & Electric) |  |  |  |
| Have any smoke or heat detectors and fire alarms in the work area been isolated? |  |  |  |
| Is a suitable fire extinguisher on hand in the work area? |  |  |  |
| Is suitable PPE available (Flame retardant clothing, face masks, eye protection etc) and is it being worn? |  |  |  |
| Are all gas cylinders been stored and transported in an upright position? |  |  |  |
| Are all valves and hoses in good condition and free of damage or defect? |  |  |  |
| Have all gas cylinders not in use been shut off and been returned to their designated storage area? |  |  |  |
| Does all Arc welding equipment comply with current standards? |  |  |  |
| Have spent welding rods been immersed in a bucket or contained of water? |  |  |  |
| Is there a 2m radius between the hot works and any other person ? Ensure that suitable welding/hot work screens are erected if needed. |  |  |  |
| Is the work area free of combustibles and in a tidy state ? Ensure this is in place before and during hot works. |  |  |  |
| Operatives must remain in the work area for 15 minutes after task completion to ensure there is no hot spot residue. |  |  |  |

| OPERATIVE(S) CARRYING OUT HOT WORKS: | YES | NO | N/A |
| --- | --- | --- | --- |
| Does the operative understand the conditions & restrictions of the permit? |  |  |  |
| Does the operative understand the fire precautions of the permit? |  |  |  |
| Does the operative understand that they must be in possession of a hot works permit at all times? |  |  |  |
| Does the operative know that they must stop work if they are required to do so by an authorised person? |  |  |  |
| Does the operative know that they must report any hazard or condition that may affect fire or safety precautions as soon as possible? |  |  |  |
| Does the operative understand that suitable access and egress must be maintained from the work area? |  |  |  |

| AUTHORISATION: PERSON CARRYING OUT THE WORK: |  |  |  |
| --- | --- | --- | --- |
| I can confirm that the precautions specified above have been complied with |  |  |  |
| Name: |  | Signed: |  |
| Date: |  | Time: |  |

| AUTHORISATION: AUTHORISED PERSON / SUPERVISOR |  |  |  |
| --- | --- | --- | --- |
| I can confirm that the precautions specified above have been complied with and I am satisfied that it is safe to perform hot work. |  |  |  |
| Name: |  | Signed: |  |
| Date: |  | Time: |  |

PERMIT CANCELLATION:

| CANCELLATION: AUTHORISED PERSON/SUPERVISOR |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | YES | N/A | TIME |
| Have all isolated services been reinstated? |  |  |  |  |  |  |
| Have all smoke/heat detectors and fire alarms been reinstated? |  |  |  |  |  |  |
| Has the work area been checked by authorised person on initial completion of work? |  |  |  |  |  |  |
| Has the work area been checked by authorised person 1 hour after completion of work? |  |  |  |  |  |  |
| THIS PERMIT TO WORK IS NOW CANCELLED. A NEW PERMIT WILL BE REQUIRED IF FURTHER WORK IS REQUIRED. |  |  |  |  |  |  |
| Name: |  | Signed: |  |  |  |  |
| Date: |  | Time: |  |  |  |  |

| CANCELLATION: PERSON CARRYING OUT THE WORK |  |  |  |
| --- | --- | --- | --- |
| I confirm that the work has been completed and the area has been checked and left in a safe condition. |  |  |  |
| Name: |  | Signed: |  |
| Date: |  | Time: |  |